## Sheet1
Option | Response
#docker exec ebusd ebusctl read -m 0 -c boiler boiler_circulation_cycles && sleep 5 | ERR: read timeout
#docker exec ebusd ebusctl read -m 0 -c boiler boiler_fan_cycles && sleep 5 | ERR: read timeout
#docker exec ebusd ebusctl read -m 0 -c boiler boiler_life_time && sleep 5 | ERR: read timeout
#docker exec ebusd ebusctl read -m 0 -c boiler boiler_pressure && sleep 5 | ERR: read timeout
#docker exec ebusd ebusctl read -m 0 -c boiler boiler_type && sleep 5 | ERR: read timeout
#docker exec ebusd ebusctl read -m 0 -c boiler circulation_time && sleep 5 | ERR: wrong symbol received
#docker exec ebusd ebusctl read -m 0 -c boiler config_changes && sleep 5 | ERR: element not found
#docker exec ebusd ebusctl read -m 0 -c boiler dhw_max_power_pct && sleep 5 | ERR: read timeout
#docker exec ebusd ebusctl read -m 0 -c boiler diverter_cycles && sleep 5 | ERR: read timeout
#docker exec ebusd ebusctl read -m 0 -c boiler flame_active && sleep 5 | ERR: SYN received
#docker exec ebusd ebusctl read -m 0 -c boiler flame_power && sleep 5 | ERR: element not found
#docker exec ebusd ebusctl read -m 0 -c boiler heat_max_adj_power_pct && sleep 5 | ERR: read timeout
#docker exec ebusd ebusctl read -m 0 -c boiler heat_max_power_pct && sleep 5 | ERR: read timeout
#docker exec ebusd ebusctl read -m 0 -c boiler heat_min_power_pct && sleep 5 | ERR: SYN received
#docker exec ebusd ebusctl read -m 0 -c boiler heat_post_circulation && sleep 5 | ERR: SYN received
# docker exec ebusd ebusctl read -m 0 -c boiler hours_burner_on && sleep 5 | ERR: element not found
# docker exec ebusd ebusctl read -m 0 -c boiler ignition_cycles && sleep 5 | ERR: arbitration lost
# docker exec ebusd ebusctl read -m 0 -c boiler ignition_delay && sleep 5 | ERR: read timeout
# docker exec ebusd ebusctl read -m 0 -c boiler ignition_delay_type && sleep 5 | ERR: read timeout
# docker exec ebusd ebusctl read -m 0 -c boiler nominal_power && sleep 5 | ERR: arbitration lost
# docker exec ebusd ebusctl read -m 0 -c boiler pressure_monitoring_device && sleep 5 | ERR: read timeout
# docker exec ebusd ebusctl read -m 0 -c boiler pump_max_pwm && sleep 5 | ERR: read timeout
# docker exec ebusd ebusctl read -m 0 -c boiler pump_min_pwm && sleep 5 | ERR: SYN received
# docker exec ebusd ebusctl read -m 0 -c boiler pump_operation && sleep 5 | ERR: arbitration lost
# docker exec ebusd ebusctl read -m 0 -c boiler slow_ignition_power_pct && sleep 5 | ERR: read timeout
# docker exec ebusd ebusctl read -m 0 -c boiler warning_pressure && sleep 5 | ERR: SYN received
docker exec ebusd ebusctl read -m 0 -c energymgr antifreeze_temp && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr aux_1_afr && sleep 5 | None
docker exec ebusd ebusctl read -m 0 -c energymgr aux_1_mean && sleep 5 | None
docker exec ebusd ebusctl read -m 0 -c energymgr aux_2_afr_mean && sleep 5 | None
docker exec ebusd ebusctl read -m 0 -c energymgr aux_2_pump && sleep 5 | Auxiliary circulator
docker exec ebusd ebusctl read -m 0 -c energymgr cool_anticycle_time && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr config_version_counter && sleep 5 | 1
docker exec ebusd ebusctl read -m 0 -c heatpump heat_ext_temp_offset && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr cooling_active && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr boiler_3way_valve && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr dhw_pv_delta_t_setp && sleep 5 | 0
docker exec ebusd ebusctl read -m 0 -c energymgr dhw_store_temp && sleep 5 | 41.2
docker exec ebusd ebusctl read -m 0 -c energymgr electric_cost && sleep 5 | 11
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_aux1_input && sleep 5 | off
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_aux1_out && sleep 5 | off
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_aux2_out && sleep 5 | off
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_hv_inv_1_status && sleep 5 | off
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_hv_inv_2_status && sleep 5 | off
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_hv_inv_3_status && sleep 5 | on
docker exec ebusd ebusctl read -m 0 -c energymgr ext_boiler_dhw_efficiency && sleep 5 | 90
docker exec ebusd ebusctl read -m 0 -c energymgr ext_boiler_heat_efficiency && sleep 5 | 90
docker exec ebusd ebusctl read -m 0 -c energymgr ext_temp_offset && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr gas_cost && sleep 5 | 5
docker exec ebusd ebusctl read -m 0 -c energymgr gas_electric_energy_ratio && sleep 5 | 200
docker exec ebusd ebusctl read -m 0 -c energymgr gas_electric_max_cost_ratio && sleep 5 | 4
docker exec ebusd ebusctl read -m 0 -c energymgr gas_electric_min_cost_ratio && sleep 5 | 0.5
docker exec ebusd ebusctl read -m 0 -c energymgr heat_mode && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr heating_mode && sleep 5 | average
docker exec ebusd ebusctl read -m 0 -c energymgr hv_inv_1_mean && sleep 5 | Absent
docker exec ebusd ebusctl read -m 0 -c energymgr hv_inv_2_mean && sleep 5 | Absent
docker exec ebusd ebusctl read -m 0 -c energymgr hv_inv_3_mean && sleep 5 | Not Defined
docker exec ebusd ebusctl read -m 0 -c energymgr hybrid_logic && sleep 5 | max_eco
docker exec ebusd ebusctl read -m 0 -c energymgr hybrid_mode && sleep 5 | auto
docker exec ebusd ebusctl read -m 0 -c energymgr hybrid_status && sleep 5 | Stand-By
docker exec ebusd ebusctl read -m 0 -c energymgr hydraulic_scheme && sleep 5 | ERR: arbitration lost
docker exec ebusd ebusctl read -m 0 -c energymgr protech_anode && sleep 5 | on
docker exec ebusd ebusctl read -m 0 -c energymgr pump_antiblock && sleep 5 | on
docker exec ebusd ebusctl read -m 0 -c energymgr pv_electric_cost && sleep 5 | 7.8
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_offset && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_setpoint_temp_set && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_slope && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_temp_range && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_therm_type_selection && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_water_max_temp && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_water_min_temp && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_day_temp && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_offset && sleep 5 | ERR: arbitration lost
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_request_mode && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_room_temp_infl && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_setpoint_temp_check && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_slope && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_temp_range && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_therm_type_selection && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_water_max_temp && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_water_min_temp && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_night_temp && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_summer_winter_auto_switch && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_summer_winter_switch_delay_time && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z1_summer_winter_temp_thresh && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_offset && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_setpoint_temp_set && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_slope && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_temp_range && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_therm_type_selection && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_water_max_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_water_min_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_day_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_request_mode && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_room_temp_infl && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_setpoint_temp_check && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_slope && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_temp_range && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_therm_type_selection && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_water_max_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_water_min_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_night_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_summer_winter_auto_switch && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_summer_winter_switch_delay_time && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z2_summer_winter_temp_thresh && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_offset && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_setpoint_temp_set && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_slope && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_temp_range && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_therm_type_selection && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_water_max_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_water_min_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_day_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_request_mode && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_room_temp_infl && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_setpoint_temp_check && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_slope && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_temp_range && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_therm_type_selection && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_water_max_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_water_min_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_night_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_room_temp && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_summer_winter_auto_switch && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_summer_winter_switch_delay_time && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c energymgr z3_summer_winter_temp_thresh && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c gateway gateway_activation_state && sleep 5 | activated
docker exec ebusd ebusctl read -m 0 -c gateway gateway_ntp && sleep 5 | on
docker exec ebusd ebusctl read -m 0 -c gateway gateway_sw_update && sleep 5 | initializing
docker exec ebusd ebusctl read -m 0 -c gateway gateway_wifi && sleep 5 | on
docker exec ebusd ebusctl read -m 0 -c gateway gateway_wifi_signal && sleep 5 | 50
docker exec ebusd ebusctl read -m 0 -c gateway gateway_wifi_state && sleep 5 | cloud_connected
docker exec ebusd ebusctl read -m 0 -c heatpump boost_time && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c heatpump config_version_counter && sleep 5 | -
docker exec ebusd ebusctl read -m 0 -c heatpump cool_ext_temp_offset && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_3way_valve_dhw_heat && sleep 5 | heat
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_3way_valve_heat_cool && sleep 5 | heat
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_4way_valve_state && sleep 5 | cooling
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_anode && sleep 5 | off
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_base_pane_heater_state && sleep 5 | on
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_comp_discharge_temp && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_compr_current && sleep 5 | 0.1
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_compr_modulation && sleep 5 | 100
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_compressor_state && sleep 5 | on
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_cond_pressure && sleep 5 | 25.5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_electric_heater && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_evap_pressure && sleep 5 | 9.5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_evaporator_temp && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_exp_valve && sleep 5 | 500
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_ext_pump && sleep 5 | off
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_fan1_speed && sleep 5 | 0
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_fan1_state && sleep 5 | on
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_fan2_speed && sleep 5 | 0
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_fan2_state && sleep 5 | on
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_flow_switch && sleep 5 | open
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_info && sleep 5 | ERR: element not found
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_inverter_nominal_power && sleep 5 | 8
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_last_error && sleep 5 | ERR: invalid position in decode
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_main_pump && sleep 5 | off
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_power_consumption && sleep 5 | ERR: arbitration lost
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_preheater_state && sleep 5 | off
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_safety_thermostat && sleep 5 | open
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_shutoff_protection && sleep 5 | off
docker exec ebusd ebusctl read -m 0 -c heatpump pump_max_pwm && sleep 5 | 100
docker exec ebusd ebusctl read -m 0 -c heatpump pump_min_pwm && sleep 5 | 40
docker exec ebusd ebusctl read -m 0 -c heatpump pump_operation && sleep 5 | modulating
docker exec ebusd ebusctl read -m 0 -c heatpump silent_mode && sleep 5 | off
docker exec ebusd ebusctl read -m 0 -c energymgr heatpump_calculated_cost && sleep 5 | 0
docker exec ebusd ebusctl read -m 0 -c energymgr boiler_calculated_cost && sleep 5 | 0

## Sheet2
#docker exec ebusd ebusctl read -m 0 -c boiler boiler_circulation_cycles && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler boiler_fan_cycles && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler boiler_life_time && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler boiler_pressure && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler boiler_type && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler circulation_time && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler config_changes && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler dhw_max_power_pct && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler diverter_cycles && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler flame_active && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler flame_power && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler heat_max_adj_power_pct && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler heat_max_power_pct && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler heat_min_power_pct && sleep 5
#docker exec ebusd ebusctl read -m 0 -c boiler heat_post_circulation && sleep 5
# docker exec ebusd ebusctl read -m 0 -c boiler hours_burner_on && sleep 5
# docker exec ebusd ebusctl read -m 0 -c boiler ignition_cycles && sleep 5
# docker exec ebusd ebusctl read -m 0 -c boiler ignition_delay && sleep 5
# docker exec ebusd ebusctl read -m 0 -c boiler ignition_delay_type && sleep 5
# docker exec ebusd ebusctl read -m 0 -c boiler nominal_power && sleep 5
# docker exec ebusd ebusctl read -m 0 -c boiler pressure_monitoring_device && sleep 5
# docker exec ebusd ebusctl read -m 0 -c boiler pump_max_pwm && sleep 5
# docker exec ebusd ebusctl read -m 0 -c boiler pump_min_pwm && sleep 5
# docker exec ebusd ebusctl read -m 0 -c boiler pump_operation && sleep 5
# docker exec ebusd ebusctl read -m 0 -c boiler slow_ignition_power_pct && sleep 5
# docker exec ebusd ebusctl read -m 0 -c boiler warning_pressure && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr antifreeze_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr aux_1_afr && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr aux_1_mean && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr aux_2_afr_mean && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr aux_2_pump && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr cool_anticycle_time && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr config_version_counter && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heat_ext_temp_offset && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr cooling_active && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr boiler_3way_valve && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr dhw_pv_delta_t_setp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr dhw_store_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr electric_cost && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_aux1_input && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_aux1_out && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_aux2_out && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_hv_inv_1_status && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_hv_inv_2_status && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr energymgr_hv_inv_3_status && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr ext_boiler_dhw_efficiency && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr ext_boiler_heat_efficiency && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr ext_temp_offset && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr gas_cost && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr gas_electric_energy_ratio && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr gas_electric_max_cost_ratio && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr gas_electric_min_cost_ratio && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr heat_mode && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr heating_mode && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr hv_inv_1_mean && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr hv_inv_2_mean && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr hv_inv_3_mean && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr hybrid_logic && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr hybrid_mode && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr hybrid_status && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr hydraulic_scheme && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr protech_anode && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr pump_antiblock && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr pv_electric_cost && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_offset && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_setpoint_temp_set && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_slope && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_temp_range && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_therm_type_selection && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_water_max_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_cool_water_min_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_day_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_offset && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_request_mode && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_room_temp_infl && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_setpoint_temp_check && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_slope && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_temp_range && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_therm_type_selection && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_water_max_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_heat_water_min_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_night_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_summer_winter_auto_switch && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_summer_winter_switch_delay_time && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z1_summer_winter_temp_thresh && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_offset && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_setpoint_temp_set && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_slope && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_temp_range && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_therm_type_selection && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_water_max_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_cool_water_min_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_day_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_request_mode && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_room_temp_infl && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_setpoint_temp_check && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_slope && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_temp_range && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_therm_type_selection && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_water_max_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_heat_water_min_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_night_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_summer_winter_auto_switch && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_summer_winter_switch_delay_time && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z2_summer_winter_temp_thresh && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_offset && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_setpoint_temp_set && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_slope && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_temp_range && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_therm_type_selection && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_water_max_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_cool_water_min_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_day_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_request_mode && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_room_temp_infl && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_setpoint_temp_check && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_slope && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_temp_range && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_therm_type_selection && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_water_max_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_heat_water_min_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_night_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_room_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_summer_winter_auto_switch && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_summer_winter_switch_delay_time && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr z3_summer_winter_temp_thresh && sleep 5
docker exec ebusd ebusctl read -m 0 -c gateway gateway_activation_state && sleep 5
docker exec ebusd ebusctl read -m 0 -c gateway gateway_ntp && sleep 5
docker exec ebusd ebusctl read -m 0 -c gateway gateway_sw_update && sleep 5
docker exec ebusd ebusctl read -m 0 -c gateway gateway_wifi && sleep 5
docker exec ebusd ebusctl read -m 0 -c gateway gateway_wifi_signal && sleep 5
docker exec ebusd ebusctl read -m 0 -c gateway gateway_wifi_state && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump boost_time && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump config_version_counter && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump cool_ext_temp_offset && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_3way_valve_dhw_heat && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_3way_valve_heat_cool && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_4way_valve_state && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_anode && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_base_pane_heater_state && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_comp_discharge_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_compr_current && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_compr_modulation && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_compressor_state && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_cond_pressure && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_electric_heater && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_evap_pressure && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_evaporator_temp && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_exp_valve && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_ext_pump && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_fan1_speed && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_fan1_state && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_fan2_speed && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_fan2_state && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_flow_switch && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_info && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_inverter_nominal_power && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_last_error && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_main_pump && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_power_consumption && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_preheater_state && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_safety_thermostat && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump heatpump_shutoff_protection && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump pump_max_pwm && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump pump_min_pwm && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump pump_operation && sleep 5
docker exec ebusd ebusctl read -m 0 -c heatpump silent_mode && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr heatpump_calculated_cost && sleep 5
docker exec ebusd ebusctl read -m 0 -c energymgr boiler_calculated_cost && sleep 5

## Sheet3
Address? | Value | Mapped name | Address? | Value | Mapped name
70fe203805016e100708 | 43 | broadcast bus_control | 70fe203805016e080708 | 74 | broadcast bus_control
70fe20500b5555060b00000000000000 | 163 | ignored ign5 | 70fe20500b55550c0900000000000000 | 264 | ignored ign5
70fe20510e1110555555555555555555555555 | 16 | ignored ign4 | 70fe20510e0210555555555555555555555555 | 32 | ignored ign4
70fe20700738080e03051901 | 61 | broadcast cast_date | 70fe20700709090e03051901 | 99 | broadcast cast_date
31fe07fe00 | 1 |  | 31fe07fe00 | 1
3118070400 / 00 | 1 | scan.18 | 3118070400 / 00 | 1 | scan.18
311e070400 / 00 | 1 | scan.1e | 311e070400 / 00 | 1 | scan.1e
3175070400 / 00 | 1 | scan.75 | 3175070400 / 00 | 1 | scan.75
3184070400 / 00 | 1 | scan.84 | 3184070400 / 00 | 1 | scan.84
00fe203a011e | 123 |  | 00fe203a011e | 198
70fe2000024ffd | 2 |  | 70fe2000024ffd | 4
70fe2000026047 | 6 |  | 70fe2000026047 | 9
70fe200006c5f8c6f8c3f8 | 47 |  | 70fe200006c5f8c6f8c3f8 | 77
70fe200002ccf7 | 47 |  | 70fe200002ccf7 | 76
70fe200002d346 | 9 |  | 70fe200002d346 | 15
70fe2001026126 | 1 |  | 70fe2001026126 | 2
70fe2001026271 | 1 |  | 70fe2001026271 | 2
70fe200f057118b40000 | 5 |  | 70fe200f057118b40000 | 7
70fe201005489d2a0100 | 10 |  | 70fe201005489d2a0100 | 17
70fe2010057118b40000 | 10 |  | 70fe2010057118b40000 | 17
70fe202003099000 | 21 |  | 70fe202003099000 | 33
70fe203b0175 | 4 |  | 70fe203b0175 | 7
70fe20710700ffffffffffff | 4 |  | 70fe20710700ffffffffffff | 7
70fe207309000000000000000001 | 21 |  | 70fe207309000000000000000001 | 33
03fe203b011e | 4 |  | 03fe203b011e | 6
13fe200e050120010001 | 5 |  | 13fe200e050120010001 | 8
13fe200e050220010001 | 5 |  | 13fe200e050220010001 | 8
13fe200e050520010001 | 5 |  | 13fe200e050520010001 | 8
13fe200e08612690015e018a02 | 10 |  | 13fe200e08612690015e018a02 | 16
13fe200e086271b40064002c01 | 19 |  | 13fe200e086271b40064002c01 | 32
13fe200e0863718c0064002c01 | 14 |  | 13fe200e086376820064002c01 | 24
13fe200e0864710000baff4600 | 5 |  | 13fe200e086426320014009600 | 8
13fe200e086571fa00c800c201 | 4 |  | 13fe200e086571fa00c800c201 | 6
13fe200e08692e2c01c800bc02 | 4 |  | 13fe200e08692e2c01c800bc02 | 6
13fe200e086e8fc800c8002c01 | 4 |  | 13fe200e086e8fc800c8002c01 | 6
13fe200e05c679030003 | 10 |  | 13fe200e05c67e020003 | 18
13fe200e05d479000018 | 4 |  | 13fe200e05d479000018 | 6
13fe200e05d62c020002 | 4 |  | 13fe200e05d62c020002 | 6
13fe200f1001910000029100000391000004910000 | 52 |  | 13fe200f1001910000029100000391000004910000 | 83
13fe200f0d059100000691000069968c0000 | 47 |  | 13fe200f0d059100000691000069968c0000 | 77
13fe200f0409900000 | 1 |  | 13fe200f0409900000 | 2
13fe200f054ffd000000 | 2 |  | 13fe200f054ffd000000 | 4
13fe200f056047120100 | 10 |  | 13fe200f056047120100 | 16
13fe200f0f6a96be00006b96be00006c96be0000 | 43 |  | 13fe200f0f6a96be00006b96be00006c96be0000 | 71
13fe200f0f6b96be00006c96be00006d96be0000 | 2 |  | 13fe200f0f6b96be00006c96be00006d96be0000 | 3
13fe200f0f6c96be00006d96be00006e96be0000 | 2 |  | 13fe200f0f6c96be00006d96be00006e96be0000 | 3
13fe200f0a6d96be00006e96be0000 | 44 |  | 13fe200f0a6d96be00006e96be0000 | 72
13fe200f056e96be0000 | 2 |  | 13fe200f056e96be0000 | 3
13fe200f0579c08c0000 | 2 |  | 13fe200f0579c08c0000 | 3
13fe200f0cc5f80000c6f80000c3f80000 | 47 |  | 13fe200f0cc5f80000c6f80000c3f80000 | 77
13fe200f04ccf70100 | 47 |  | 13fe200f04ccf70100 | 77
13fe200f04d3460000 | 9 |  | 13fe200f04d3460000 | 15
13fe20100c041f0000051f0000061f0000 | 1 |  | 13fe20100c041f0000051f0000061f0000 | 2
13fe2010080591000006910000 | 2 |  | 13fe2010080591000006910000 | 3
13fe2010056197f60000 | 7 |  | 13fe20100961475e0100d7460100 | 8
13fe20100f639744020064974402006597440200 | 1 |  | 13fe20100f639744020064974402006597440200 | 2
13fe20100a644700000042f7180500 | 2 |  | 13fe20100a644700000042f7180500 | 3
13fe2010056697440200 | 2 |  | 13fe2010056697440200 | 3
13fe20100e6a96be0000c39402006b96be0000 | 2 |  | 13fe20100e6a96be0000c39402006b96be0000 | 3
13fe20100e6d96be0000c69402006e96be0000 | 2 |  | 13fe20100e6d96be0000c69402006e96be0000 | 2
13fe2010056f173e0000 | 6 |  | 13fe20100a6f173e0000489d003f00 | 7
13fe20100a759eff7f00769eb00000 | 2 |  | 13fe20100a759eff7f00769ea60000 | 3
13fe201005769eab0000 | 46 |  | 13fe201005769ea20000 | 70
13fe20100dc194010069968c0000c2940200 | 2 |  | 13fe20100dc194010069968c0000c2940200 | 3
13fe20100dc49402006c96be0000c5940200 | 4 |  | 13fe20100dc49402006c96be0000c5940200 | 6
13fe201010c9c12a00cac10000cbc10000ccc10000 | 3 |  | 13fe201010c9c12a00cac10000cbc10000ccc10000 | 5
13fe201008cdf86400dcf20000 | 4 |  | 13fe201008cdf86400dcf20000 | 6
13fe201010d3940200d4940200d5940200d6940200 | 2 |  | 13fe201010d3940200d4940200d5940200d6940200 | 4
13fe20100dd99c0200ccf70100649f120100 | 3 |  | 13fe20100dd99c0200ccf70100649f120100 | 5
13fe201008da9ca000daf20200 | 6 |  | 13fe201008da9ca000daf20200 | 8
13fe201010db950000dc950000dd950000de950000 | 1 |  | 13fe201010db950000dc950000dd950000de950000 | 2
13fe201008dc46a000d2f20800 | 3 |  | 13fe201008dc46a000d2f20800 | 4
13fe201008dd940000de940000 | 1 |  | 13fe201008dd940000de940000 | 2
13fe201008de46a000d1f20b00 | 3 |  | 13fe201008de46a000d1f20b00 | 4
13fe201010dff70000c0f80000c1f80000c2f80000 | 2 |  | 13fe201010dff70000c0f80000c1f80000c2f80000 | 3
13fe202009012001d02a02d12a00 | 1 |  | 13fe202009012001d02a02d12a00 | 1
13fe20200c028401028501028601088100 | 2 |  | 13fe20200c028401028501028601088100 | 2
13fe20200a088600d68904708a0500 | 2 |  | 13fe20200b0684007074460071747800 | 1
13fe202009098600c02f00c12f00 | 2 |  | 13fe20200a088600d68904708a0500 | 2
13fe20200c0a83000a84000a85000a8600 | 1 |  | 13fe20200c098200d07b01d17b00d27b00 | 3
13fe2020091b23001f2301188800 | 1 |  | 13fe20200c0a83000a84000a85000a8600 | 1
13fe20200a412f0000d87900d97900 | 1 |  | 13fe2020091b23001f2301188800 | 1
13fe20200e4ffd000050fdfd00c7f800c8f800 | 47 |  | 13fe20200a412f0000d87900d97900 | 1
13fe20200c6172c800647200006572c800 | 1 |  | 13fe20200e4ffd000050fdfd00c7f800c8f800 | 76
13fe20200a637682000f2300102300 | 5 |  | 13fe20200c607558026175c80064750000 | 2
13fe20200b64263200c679036271b400 | 1 |  | 13fe20200c6174c8006474000065749001 | 2
13fe20200c6672c2016772c80069720000 | 1 |  | 13fe20200a637682000f2300102300 | 5
13fe20200c672e3200682e9001692e2c01 | 1 |  | 13fe20200b64263200c679036271b400 | 1
13fe20200c697100006a713c006b710000 | 2 |  | 13fe20200c657590016675bc026775c800 | 2
13fe20200c6a2e0000752eb4006f8f3200 | 1 |  | 13fe20200c6676bc026776c80069760000 | 3
13fe20200a6c710000c07903c27902 | 1 |  | 13fe20200c672e3200682e9001692e2c01 | 1
13fe20200b6e8fc8006d8fe600d12c01 | 1 |  | 13fe20200c697500006a7596006b750000 | 4
13fe20200a718a1e000a81000a8200 | 3 |  | 13fe20200c6a7696006b7600006c760000 | 4
13fe20200c747646007576000076761900 | 1 |  | 13fe20200a6c750000c07d01c27d0a | 3
13fe20200b7976c8007a762c01ce7901 | 6 |  | 13fe20200b6e8fc8006d8fe600d12c01 | 1
13fe20200a7c8e0000db8900d07901 | 1 |  | 13fe20200c707546007175780072759600 | 2
13fe2020077e2b0001d38d00 | 1 |  | 13fe20200c717678007276960073764600 | 5
13fe20200ac979000081006072c201 | 1 |  | 13fe20200c727496007374460074744600 | 2
13fe20200cce7e00028101028201028301 | 2 |  | 13fe20200c737546007475460075750000 | 2
13fe20200cd07e01d17e00d27e00d37e00 | 2 |  | 13fe20200c747646007576000076761900 | 2
13fe20200cd17d00d27d00d37d00098500 | 2 |  | 13fe20200b7574000076741900068500 | 2
13fe20200cd27c00d37c00098400d07d01 | 1 |  | 13fe20200b7675190006860070764600 | 2
13fe20200cd37b00098300d07c01d17c00 | 1 |  | 13fe20200b7976c8007a762c01ce7901 | 6
13fe20200cd47d00d57d02d67d01d47e00 | 2 |  | 13fe20200a7c8e0000db8900d07901 | 2
13fe202009d57e02d67e01c48f01 | 2 |  | 13fe2020077e2b0001d38d00 | 1
13fe20200cd67b01d47c00d57c02d67c01 | 2 |  | 13fe20200cc07e01c27e0ac97e00008601 | 3
13fe202006da7e46db7e0a | 7 |  | 13fe20200ac97d0000850160765802 | 3
13fe203b0118 | 4 |  | 13fe20200cce7e00028101028201028301 | 2
7ffe2000080191029103910491 | 52 |  | 13fe20200cd07a00d17a00d27a00d37a00 | 3
7ffe200006059106916996 | 47 |  | 13fe20200cd17900d27900d37900098100 | 3
7ffe2000020990 | 1 |  | 13fe20200cd27c00d37c00098400d07d01 | 2
7ffe2000026047 | 4 |  | 13fe20200cd37b00098300d07c01d17c00 | 2
7ffe20000669966a966b96 | 8 |  | 13fe20200cd47d00d57d02d67d01d47e00 | 2
7ffe2000066a966b966c96 | 43 |  | 13fe202009d57e02d67e01c48f01 | 2
7ffe2000066b966c966d96 | 2 |  | 13fe20200cd67b01d47c00d57c02d67c01 | 2
7ffe2000066c966d966e96 | 2 |  | 13fe202006da7e46db7e0a | 7
7ffe2000046d966e96 | 44 |  | 13fe203b0118 | 6
7ffe2000026e96 | 2 |  | 7ffe2000080191029103910491 | 83
7ffe2000027118 | 5 |  | 7ffe200006059106916996 | 77
7ffe2000027647 | 9 |  | 7ffe2000020990 | 2
7ffe20000279c0 | 2 |  | 7ffe2000026047 | 7
7ffe2001020120 | 5 |  | 7ffe20000669966a966b96 | 12
7ffe2001020220 | 5 |  | 7ffe2000066a966b966c96 | 71
7ffe2001020520 | 5 |  | 7ffe2000066b966c966d96 | 3
7ffe2001020f23 | 5 |  | 7ffe2000066c966d966e96 | 3
7ffe2001026126 | 9 |  | 7ffe2000046d966e96 | 72
7ffe2001026271 | 18 |  | 7ffe2000026e96 | 3
7ffe2001026371 | 14 |  | 7ffe2000027118 | 7
7ffe2001026471 | 5 |  | 7ffe2000027647 | 18
7ffe2001026571 | 4 |  | 7ffe20000279c0 | 3
7ffe200102692e | 4 |  | 7ffe200002ccf7 | 1
7ffe2001026e8f | 4 |  | 7ffe2001020120 | 8
7ffe200102c028 | 5 |  | 7ffe2001020220 | 8
7ffe200102c679 | 10 |  | 7ffe2001020520 | 8
7ffe200102d479 | 4 |  | 7ffe2001020f23 | 8
7ffe200102d62c | 4 |  | 7ffe2001026126 | 14
7ffe20100976174d0000c19a0400 | 11 |  | 7ffe2001026276 | 30
7ffe2020030a9000 | 21 |  | 7ffe2001026376 | 24
7ffe2020030b9000 | 20 |  | 7ffe2001026426 | 9
7ffe2020030c9000 | 20 |  | 7ffe2001026571 | 6
7ffe2020030d9000 | 20 |  | 7ffe200102692e | 6
7ffe2020030e9000 | 20 |  | 7ffe2001026e8f | 6
7ffe203b0184 | 4 |  | 7ffe200102c028 | 8
7ffe207309000000000000000002 | 101 |  | 7ffe200102c67e | 18
13fe200e050f23000001 | 5 | energymgr cooling_status | 7ffe200102d479 | 6
13fe200e05c028010002 | 5 | energymgr dhw_comfort_mode | 7ffe200102d62c | 6
13fe200f0f69968c00006a96be00006b96be0000 | 8 | energymgr z1_setpoint_temp | 7ffe20100976174d0000c19a0400 | 17
13fe200f0576473e0000 | 9 | energymgr ext_temp | 7ffe2020030a9000 | 33
13fe20100f60471201006197f7000062975e0100 | 1 | energymgr hybrid_LWT_setpoint | 7ffe2020030b9000 | 33
13fe20200c6126900162265e017d265802 | 1 | energymgr dhw_info_3 | 7ffe2020030c9000 | 33
70182000024dfd / 03010000 | 5 |  | 7ffe2020030d9000 | 33
70182000027547 / 03010d00 | 22 |  | 7ffe2020030e9000 | 33
701e200002c0f2 / 020101 | 1 |  | 7ffe203b0184 | 7
701e200002d140 / 020101 | 5 |  | 7ffe207309000000000000000006 | 165
70842000020488 / 020101 | 1 |  | 13fe200e050f23000001 | 8 | energymgr cooling_status
13fe20101001910000029100000391000004910000 | 2 | energymgr heat_request | 13fe200e05c028010002 | 8 | energymgr dhw_comfort_mode
7f1820000274fd / 03010801 | 1 |  | 13fe200f0f69968c00006a96be00006b96be0000 | 12 | energymgr z1_setpoint_temp
7f182000027547 / 03010d00 | 5 |  | 13fe200f0576473e0000 | 17 | energymgr ext_temp
7f18200002c74b / 0100 | 2 |  | 13fe20100f60471201006197f6000062975e0100 | 2 | energymgr hybrid_LWT_setpoint
7f182001020320 / 03000001 | 4 |  | 13fe20200c6126900162265e017d265802 | 1 | energymgr dhw_info_3
7f18200102c328 / 03020102 | 4 |  | 70182000024dfd / 03010000 | 7
7f18200102c92a / 03010105 | 4 |  | 70182000027547 / 03010d00 | 37
7f1e2000027117 / 03019000 | 1 |  | 701e200002c0f2 / 020101 | 2
7f1e200002ca46 / 020101 | 5 |  | 701e200002d140 / 020101 | 8
7f182000041d11d4f7 / 03030005 | 4 | energymgr energymgr_hv_inv_1_status | 70842000020488 / 020101 | 2
7f182000027017 / 03018c01 | 54 | energymgr dhw_store_temp | 13fe20101001910000029100000391000004910000 | 3 | energymgr heat_request
7f18200002c94b / 020100 | 21 | energymgr hybrid_status | 13fe20200c6176c8006476000065769001 | 1 | energymgr day_temp_settings
7f1e200006704f72177c4f / 0707f40171000000 | 1 | heatpump heatpump_exp_valve | 7f1820000274fd / 03010801 | 1
7f1e200006cb4673177910 / 0607006c005600 | 1 | heatpump heatpump_compr_frequency | 7f182000027547 / 03010d00 | 7
13fe20200b052001602bc00374260000 | 1 | energymgr auto_function | 7f18200002c74b / 0100 | 4
13fe20200c6071c2016171c80064710000 | 1 | energymgr z1_heat_water_max_temp | 7f182001020320 / 03000001 | 6
13fe20200b63718c00c67a026272be00 | 1 | energymgr z1_night_temp | 7f18200102c328 / 03020102 | 6
13fe20200c6571fa006671c2016771c800 | 1 | energymgr z1_heat_setpoint_temp_set | 7f18200102c92a / 03010105 | 6
70182000044dfd7547 / 050300000d00 | 96 |  | 7f1e2000027117 / 03018500 | 2
7018200008d1404bfd4cfd4dfd / 080fff0a0000000000 | 22 |  | 7f1e2000027810 / 03014100 | 1
7018200008c94bd1404bfd4cfd / 070f00ff0a000000 | 101 |  | 7f1e200002ca46 / 020101 | 8
70182000081521d58dcc2ad32a / 050f01010000 | 1 |  | 31182000020320 / 020100 | 1 | heatpump silent_mode
7018200008c0f2dc28d18dce8d / 050f05fe0201 | 1 |  | 31182000020323 / 020100 | 1 | energymgr hv_inv_3_mean
701e200004d140ca46 / 03030101 | 118 |  | 31182000020601 / 020101 | 1 | heatpump heatpump_3way_valve_dhw_heat
7084200008c0f2c5f014210921 / 050f04000101 | 1 |  | 31182000020701 / 020100 | 1 | heatpump heatpump_3way_valve_heat_cool
7084200008cc4bd140c89ccc9a / 050f08010000 | 123 |  | 31182000020d23 / 020101 | 1 | energymgr protech_anode
7f1820000462137017 / 050329068d01 | 1 |  | 31182000021803 / 020100 | 1 | energymgr energymgr_aux1_out
7f1e20000676106e137710 / 0707d3000000b100 | 1 |  | 31182000021823 / 020101 | 1 | energymgr pump_antiblock
7f1e200004c54b7417 / 0403005300 | 1 |  | 31182000021903 / 020100 | 1 | heatpump heatpump_anode
|  |  | 31182000021a03 / 020100 | 1 | energymgr energymgr_aux2_out
|  |  | 31182000021a11 / 020100 | 1 | heatpump heatpump_safety_thermostat
|  |  | 31182000021c11 / 020100 | 1 | energymgr energymgr_hv_inv_2_status
|  |  | 31182000021c22 / 0100 | 1 | energymgr heat_mode
|  |  | 31182000021d11 / 020100 | 7 | energymgr energymgr_hv_inv_1_status
|  |  | 31182000021e11 / 020100 | 1 | energymgr energymgr_aux1_input
|  |  | 31182000021f11 / 020101 | 1 | energymgr energymgr_hv_inv_3_status
|  |  | 3118200002652b / 03016e00 | 1 | energymgr electric_cost
|  |  | 3118200002662b / 03014e00 | 1 | energymgr pv_electric_cost
|  |  | 31182000026c47 / 03010000 | 1 | energymgr heatpump_calculated_cost
|  |  | 7f182000027017 / 03018c01 | 86 | energymgr dhw_store_temp
|  |  | 3118200002c200 / 020100 | 1 | heatpump heatpump_main_pump
|  |  | 3118200002c32a / 020102 | 1 | heatpump pump_operation
|  |  | 3118200002c628 / 020100 | 1 | energymgr hybrid_mode
|  |  | 3118200002c700 / 020100 | 1 | heatpump heatpump_ext_pump
|  |  | 3118200002c728 / 020102 | 1 | energymgr heating_mode
|  |  | 3118200002c92a / 020101 | 1 | energymgr hv_inv_1_mean
|  |  | 7f18200002c94b / 020100 | 35 | energymgr hybrid_status
|  |  | 3118200002cb28 / 020128 | 1 | energymgr gas_electric_max_cost_ratio
|  |  | 3118200002cb2a / 020101 | 1 | energymgr hv_inv_2_mean
|  |  | 3118200002cc28 / 020105 | 1 | energymgr gas_electric_min_cost_ratio
|  |  | 3118200002cc2a / 020100 | 1 | energymgr aux_1_afr
|  |  | 3118200002ce28 / 020101 | 1 | energymgr hybrid_logic
|  |  | 3118200002d140 / 0201ff | 1 | heatpump config_version_counter
|  |  | 3118200002d32a / 020100 | 1 | energymgr aux_2_afr_mean
|  |  | 3118200002d42a / 020100 | 1 | energymgr aux_1_mean
|  |  | 3118200002dc28 / 0201fe | 1 | energymgr hydraulic_scheme
|  |  | 311e2000020c45 / 020100 | 1 | heatpump heatpump_flow_switch
|  |  | 311e2000021045 / 020100 | 1 | heatpump heatpump_shutoff_protection
|  |  | 311e2000021145 / 020100 | 1 | heatpump heatpump_compressor_state
|  |  | 311e2000021245 / 020101 | 1 | heatpump heatpump_preheater_state
|  |  | 311e2000021345 / 020100 | 1 | heatpump heatpump_4way_valve_state
|  |  | 311e2000021445 / 020100 | 1 | heatpump heatpump_fan1_state
|  |  | 311e2000021545 / 020100 | 1 | heatpump heatpump_fan2_state
|  |  | 311e2000021645 / 020100 | 1 | heatpump heatpump_base_pane_heater_state
|  |  | 311e2000026947 / 03010800 | 1 | heatpump heatpump_inverter_nominal_power
|  |  | 311e2000026c4f / 03015e00 | 1 | heatpump heatpump_evap_pressure
|  |  | 311e2000026d4f / 03018800 | 1 | heatpump heatpump_cond_pressure
|  |  | 311e2000026e4f / 03010000 | 1 | heatpump heatpump_fan1_speed
|  |  | 311e2000026f4f / 03010000 | 1 | heatpump heatpump_fan2_speed
|  |  | 311e200002704f / 0301f401 | 3 | heatpump heatpump_exp_valve
|  |  | 311e200002714f / 03010400 | 1 | heatpump heatpump_compr_current
|  |  | 311e200002c446 / 020164 | 1 | heatpump heatpump_compr_modulation
|  |  | 7f1e200006cb4673177910 / 06070060005300 | 2 | heatpump heatpump_compr_frequency
|  |  | 311e200002d22c / 020128 | 1 | heatpump pump_min_pwm
|  |  | 311e200002d32c / 020164 | 1 | heatpump pump_max_pwm
|  |  | 31842000020921 / 020101 | 1 | gateway gateway_wifi
|  |  | 31842000021421 / 020101 | 1 | gateway gateway_ntp
|  |  | 3184200002c3f0 / 020132 | 1 | gateway gateway_wifi_signal
|  |  | 3184200002c4f0 / 020102 | 1 | gateway gateway_activation_state
|  |  | 3184200002c89c / 020100 | 1 | gateway gateway_sw_update
|  |  | 3184200002cc4b / 020108 | 3 | gateway gateway_wifi_state
|  |  | 7084200006d140c89ccc9a / 0407010000 | 2 | energymgr config_version_counter
|  |  | 13fe20200b052001602bc00374260000 | 1 | energymgr auto_function
|  |  | 13fe20200b0681007071460071717800 | 1 | energymgr z1_cool_temp_range
|  |  | 13fe20200c6071c2016171c80064710000 | 1 | energymgr z1_heat_water_max_temp
|  |  | 13fe20200b63718c00c67a026272be00 | 1 | energymgr z1_night_temp
|  |  | 13fe20200c6571fa006671c2016771c800 | 1 | energymgr z1_heat_setpoint_temp_set
|  |  | 70182000044dfd7547 / 050300000d00 | 155
|  |  | 7018200008d1404bfd4cfd4dfd / 080fff0a0000000000 | 36
|  |  | 7018200008c94b4bfd4cfd4dfd / 080f000a0000000000 | 1
|  |  | 7018200008c94bd1404bfd4cfd / 070f00ff0a000000 | 162
|  |  | 70182000041521d58d / 03030101 | 2
|  |  | 7018200008c0f2dc28d18dce8d / 050f05fe0201 | 2
|  |  | 701e200004d140ca46 / 03030101 | 190
|  |  | 7084200008c0f2c5f014210921 / 050f04000101 | 2
|  |  | 7084200008cc4bd140c89ccc9a / 050f08010000 | 196
|  |  | 7f1820000462137017 / 050329068d01 | 1
|  |  | 7f1e20000676106e137710 / 0707d3000000b100 | 1
|  |  | 7f1e200004c54b7417 / 0403005300 | 1